2020 WATER QUALITY REPORT

FOR

Brooklyn Water Department

This report contains important information regarding the water quality in our water system. The source of our water is groundwater.

All of the water is purchased.  Purchased water comes from Poweshiek Water Association.  Our water quality testing shows the

Following results:

| CONTAMINANT | MCL-(MCLG) | Compliance | Date | Violation | Source |
| --- | --- | --- | --- | --- | --- |
|  |  | Type | Value & Range |  | Yes / No |  |
| Copper (ppm) | AL = 1.3 (1.3) | 90th | 0.0207 (ND-.0335) | 2019 | No | Corrosion of household plumbing systems; Erosion of natural deposits |
| Lead (ppb) | AL =15 (0) | 90th | 1 (ND-2) | 2019 | No | Corrosion of household plumbing systems; erosion of natural deposits |
| 950 DISTRIBUTION | SYSTEM |  |  |  |  |  |
| Chlorine (ppm) | MRDL = 4.0 (MRDLG = 4.0) | RAA | 1.9 (1.1-2.4) | Daily 2020 | No | Water additives used to control microbes |
| Total Trihalomethanes (ppb) TTHM | 80 (N/A) | LRAA | 31 (73-73) | Yearly 2020 | No | By products of drinking water disinfection |
| Total Haloacetic Acids (ppb) HAA5 | 60 (N/A) | LRAA | 18.00 (17-17) | Yearly 2020 | No | By products of drinking water disinfection |
| CONTAMINANT | MCL-(MCLG) |  | Compliance | Date | Violation | Source |
|  |  | Type | Value & (Range) |  | Yes / No |  |
| 8670701 – Poweshiek | Water Association |  |  |  |  |  |
| 01 – WELLS #1-#14 | @LAB FAUCET |  |  |  |  |  |
| Barium | 2 (2) |  | 0.0216 (0.0216) | 2013 | No | Discharge from drilling waste & metal refineries; erosion of natural deposits |
| Selenium (ppb) | 50 (50) |  | 3.20 (3.20) | 2013 | No | Discharge from petroleum & metal refineries & mines, erosion natural deposits |
| Sodium (ppm) | N/A (N/A) | SGL | 9.3 (9.5) | 2020 | No | Erosion of natural deposits; added to water during treatment process |
| Nitrate as N (ppm) | 10 (10) | SGL | 0.2 (0.2) | 2020 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Total Coliform bacteria | ≥ than 5% of monthly sample(0) |  | 0 % positive 2020 (N/A) | Monthly 2020 | No | Naturally present in the environment |
| Fecal Coliform & E.coli | ≥ than 5% of monthly sample(0) |  | 0% positive 2020 (N/A) | Monthly 2020 | No | Human & Animal fecal waste |
| Hexavalent chromium (ppb) | N/A (N/A) |  | 2.5 (2.2-2.5) | 2013 | No | UCMR3 random systems selected by EPA to determine regulations |
| Chromium (ppb) | N/A (N/A) |  | 2.5 (2.2–2.5) | 2013 | No | UCMR3 random systems selected by EPA to determine regulations |
| Strontium (ppb) | N/A (N/A) |  | 73 (69-73) | 2013 | No | UCMR3 random systems selected by EPA to determine regulations |
| Vanadium (ppb) | N/A (N/A) |  | 1.0 (0.81-1.0) | 2013 | No | UCMR3 random systems selected by EPA to determine regulations |
| Molybdenum (ppb) | N/A (N/A) |  | 1.0 (1.0) | 2013 | No | UCMR3 random systems selected by EPA to determine regulations |
| Turbidity (NTU) | TT (N/A) |  | 0.1NTU (.02-.10 NTU) | Daily 2020 | No | Soil Runoff |

Note: Contaminants with dates indicate results from the most recent testing done in accordance with regulations.

DEFINITIONS

- Maximum Contaminant Level (MCL) – The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Maximum Contaminant Level Goal (MCLG) -- The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- ppb -- parts per billion.

- ppm -- parts per million.

- pCi/L – picocuries per liter

- N/A – Not applicable

- ND -- Not detected

- RAA – Running Annual Average

- LRAA – Locational Running Annual Average

- IDSE – Initial Distribution System Evaluation

- SGL—single sample result

# Treatment Technique (TT) – A required process intended to reduce the level of a contaminant in drinking water.

- Action Level (AL) – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

- Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

- UCMR – Unregulated Contaminant Monitoring Rule

- TCR – Total Coliform Rule

- NTU – Nephelometric Turbidity Units measures amount of turbidity in water.  Turbidity is a measure of cloudiness.

- RTCR-Revised Total Coliform Rule

GENERAL INFORMATION

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water posed a health risk.  More information about contaminants or potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Brooklyn Water Department is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at <http://www.epa.gov/safewater/lead.

SOURCE WATER ASSESSMENT INFORMATION

This water supply obtains some or all of its water from another public water supply.  It is a consecutive water supply, where an originating parent supply provides drinking water to one or more downstream supplies.

Original Supply ID                      Original Supply Name

IA8670701                                   Poweshiek Water Association

# CONTACT INFORMATION

For questions regarding this information, please contact Brian VanTomme at (641) 522-7066 during the following hours: 7:00am – 4:00pm.  You may receive a copy of the Consumer Confidence Report at City Hall.

Decisions regarding the water system are made at the Brooklyn City Council meetings held on the first and third Mondays of the month at 6:00 p.m. at 138 Jackson Street and are open to the public.